| MATERIAL INSPECTION REPORTS | Form QT3 |
| --- | --- |
|  | Page 1 of 2 |

| Name of Development | : |  |
| --- | --- | --- |
|  | : |  |
|  | : |  |
| Project Reference No. | : |  |

- Inspection on Pipes

| Supplier/ Manufacturer | : |  |
| --- | --- | --- |
| Instrument Used | : | Calipers / Ultrasonic Thickness Equipment / Micrometer/ Others |
| Total Number Pipes Inspected | : |  |
| Delivery Order No. | : |  |
| Inspection Date |  |  |

| Type of Water Fittings/ Pipe | Pipe No./ ID | Int. Lining Thickness | Thickness Of Pipe (mm) |  |  | Remark |  | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Diameter (mm) |  |  | Socket End | Middle | Spigot End | Passed (/) | Failed (X) |  |

- Inspection on Water Fittings

| Supplier/ Manufacturer | : |  |
| --- | --- | --- |
| Instrument Used | : |  |
| Total Number Water Fitting Inspected | : |  |
| Delivery Order No. | : |  |
| Inspection Date |  |  |

| Type of Fittings and Product Brands | Sample No./ ID | Remarks (Visual Inspection) Good/ Fair/ Poor |
| --- | --- | --- |
| - All types of valves |  |  |
| - All types of specials and fittings |  |  |
| - All types of panel tanks |  |  |

Note: a. Thickness Measurement shall be at random check and not less than 5% of the number of pipes supplied in each delivery order.

b. All pipe tested shall be confirmed according to rules 3, 4, and 5 of the Water Services Industry Act 2006.

c. Product details with technical specifications (or any other supporting documents) according to appropriate standards attached for reference.

**Please use additional sheet if necessary

| MATERIAL INSPECTION REPORTS | Form QT3 |
| --- | --- |
|  | Page 2 of 2 |

| Project Reference No. | : |  |
| --- | --- | --- |

| Checked By |  |  |  |
| --- | --- | --- | --- |
| Name | : |  |  |
| Firm CP Registration No | : : |  |  |
| NRIC. No. | : |  |  |
| Date : |  | Signature of Competent Person |  |
| Witnessed By |  |  |  |
| Name | : |  |  |
| Staff No | : |  |  |
|  |  | Signature of AIR SELANGOR; Executives/ Technician Regional Development Unit |  |

Date                           :