| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 1 of 3 |

| Name of Development | : |  |
| --- | --- | --- |
|  | : |  |
|  | : |  |
| Project Reference No. | : |  |
| Approval Plan No. | : |  |
|  |  | (Attach approved plan and as-built plan of pipeline) |
| Date of Inspection | : |  |
| Phase/ Name of Location pipeline checked | : |  |

| Work Discription |  |  |  | Remarks |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| A) Pipelines | Type of pipe | Diameter (mm) | Lenght (m) | Satisfactory | Unsatisfactory | Comments |
|  |  |  |  | (tick relevan column) |  |  |
| - Main pipes |  |  |  |  |  |  |
| - Communication pipes |  |  |  |  |  |  |
|  | Type | Nos | Size (mm) |  |  |  |
| - Sluice valves |  |  |  |  |  |  |
| - Butterfly valves |  |  |  |  |  |  |
| - Air valves |  |  |  |  |  |  |
| - Scour valves |  |  |  |  |  |  |
| - Hydrants |  |  |  |  |  |  |
| - Valve chambers |  |  |  |  |  |  |
| - Pipe markers |  |  |  |  |  |  |
| - Pressure reducing valves |  |  |  |  |  |  |
| - Sampling points |  |  |  |  |  |  |
| - Zone meters |  |  |  |  |  |  |
| - Over crossing with/ without supports/ spike guards |  |  |  |  |  |  |
| - Constant Flow Valve (calibrated) |  |  |  |  |  |  |
| - Pipes laid within public road reserve or pipeline reserve |  |  |  |  |  |  |
| - Other items : |  |  |  |  |  |  |
| B) Individual Meter Stand |  |  | Details | Satisfactory | Unsatisfactory | Comments |
|  |  |  |  | (tick relevan column) |  |  |
| - Material type |  |  |  |  |  |  |
| - Meter size ( mm ) |  |  |  |  |  |  |
| - Minimum height (mm). 450mm (± 50mm) between mid-centre of meter to ground. |  |  |  |  |  |  |
| - Un-obstructive position for meter reading and meter maintenance. |  |  |  |  |  |  |
| - Meter short piece length: |  | 5D = |  |  |  |  |
|  |  | 3D = |  |  |  |  |

| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 2 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |
| Date of Inspection | : |  |

| C) Multimeter Stand |  | Details | Satisfactory | Unsatisfactory |  | Comments |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (tick relevan column) |  |  |  |
| - Material type |  |  |  |  |  |  |
| - Meter size ( mm ) |  |  |  |  |  |  |
| - Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |  |  |
| - Un-obstructive position for meter reading and meter maintenance. |  |  |  |  |  |  |
| - Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |  |  |
| - Meter short piece length: | 5D = |  |  |  |  |  |
|  | 3D = |  |  |  |  |  |
| D) Domestic Bulk Meter Stand |  | Details | Satisfactory | Unsatisfactory |  | Comments |
|  |  |  | (tick relevan column) |  |  |  |
| - Material type |  |  |  |  |  |  |
| - Meter size ( mm ) |  |  |  |  |  |  |
| - Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |  |  |
| - Un-obstructive position for meter reading and meter maintenance. |  |  |  |  |  |  |
| - Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |  |  |
| - Meter short piece length: | 6D = |  |  |  |  |  |
|  | 3D = |  |  |  |  |  |
| 7. Concrete slab |  |  |  |  |  |  |
| E) Bulk Meter Stand for Hydrant |  | Details | Satisfactory | Unsatisfactory |  | Comments |
|  |  |  | (tick relevan column) |  |  |  |
| - Material |  |  |  |  |  |  |
| - Meter size ( mm ) |  |  |  |  |  |  |
| - Minimum height (mm)* Between mid-centre of specials to floor slab. |  |  |  |  |  |  |
| - Un-obstructive position for meter reading and meter maintenance. |  |  |  |  |  |  |
| - Minimum dist. between meter (mm) Between mid-centre of meters.* |  |  |  |  |  |  |
| - Meter short piece length (mm) | 6D = |  |  |  |  |  |
|  | 3D = |  |  |  |  |  |
| - Concrete slab |  |  |  |  |  |  |
| F) Others (Specify) |  | Details | Satisfactory | Unsatisfactory |  | Comments |
|  |  |  | (tick relevan column) |  |  |  |
| 1. |  |  |  |  |  |  |

*Shall refer to appproved standard drawings

| FINAL JOINT INSPECTION REPORT (EXTERNAL PIPELINE) (Valid for six (6) months prior taking over date) | Form QT6(a) |
| --- | --- |
|  | Page 3 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |

| Checked By |  |  |  |
| --- | --- | --- | --- |
| Name | : |  |  |
| Firm CP Registration No | : : |  |  |
| NRIC. No. | : |  |  |
| Date : |  | Signature of Competent Person |  |
| 1. Witnessed By |  |  |  |
| Name | : |  |  |
| Staff No | : |  |  |
|  |  | Signature of AIR SELANGOR; Regional Development Unit |  |

Date                           :

| 2. Witnessed By |  |  |  |
| --- | --- | --- | --- |
| Name | : |  |  |
| Staff No | : |  |  |
|  |  | Signature of SYABAS; (<50,000LPD) Head, Regional Development Unit/ (≥50,000LPD) Head, of Take Over Unit (HQ) |  |

Date                           :