| FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE) (Valid for six (6) months prior taking over date) | Form QT6(b) |
| --- | --- |
|  | Page 1 of 3 |

| Name of Development | : |  |
| --- | --- | --- |
|  | : |  |
|  | : |  |
| Project Reference No. | : |  |
| Approval Plan No. | : |  |
|  |  | (Attach approved plan and as-built plan of the structure referred) |
| Date of Inspection | : |  |

| Work Discription |  |  | Remarks |  |  |
| --- | --- | --- | --- | --- | --- |
| - Reservoirs (Suction or Service) | Details/ size (mm) | Nos | Satisfactory | Unsatisfactory | Comments |
|  |  |  | (tick relevan column) |  |  |
| - Type of tank (Ground/ Elevated) |  |  |  |  |  |
| - Make of tank (RC/Panel tank) |  |  |  |  |  |
| - Capacity (ml) |  |  |  |  |  |
| - Dimensions (length x breadth x height) |  |  |  |  |  |
| - Roof condition |  |  |  |  |  |
| - Wall condition |  |  |  |  |  |
| - Floor condition |  |  |  |  |  |
| - Column condition |  |  |  |  |  |
| - Ventilation lantern |  |  |  |  |  |
| - Inlet pipe |  |  |  |  |  |
| - Outlet pipe |  |  |  |  |  |
| - Overflow pipe |  |  |  |  |  |
| - Scour pipe |  |  |  |  |  |
| - Bypass pipe |  |  |  |  |  |
| - Valve chamber with step Ladder/ cover/ clean |  |  |  |  |  |
| - Slope gradient |  |  |  |  |  |
| - No visible ground settlement |  |  |  |  |  |
| - Setback |  |  |  |  |  |
| - Hand rails (galvanized) |  |  |  |  |  |
| - Internal ladder (RC/Aluminium/ stainless steel) |  |  |  |  |  |
| - External ladder (rc/Aluminium/ stainless steel) |  |  |  |  |  |
| - Ventilation door (Mosquito proof Monel Metal Mauge) |  |  |  |  |  |
| - Perimeter Drainage |  |  |  |  |  |
| - Drain Manhole |  |  |  |  |  |
| - Level Indicator |  |  |  |  |  |
| - Reservoir Painting |  |  |  |  |  |
| - RTU/ Telemetry |  |  |  |  |  |
| - Reservoir Information TWL/ BWL/ Capacity/ ID no. |  |  |  |  |  |
| - Flow Meter |  |  |  |  |  |
| - Safety Signage |  |  |  |  |  |
| - Other Comments |  |  |  |  |  |

| FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE) (Valid for six (6) months prior taking over date) | Form QT6(b) |
| --- | --- |
|  | Page 2 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |
| Date of Inspection | : |  |

| Work Discription |  |  | Remarks |  |  |
| --- | --- | --- | --- | --- | --- |
| - Pump House | Details/ size (mm) | Nos | Satisfactory | Unsatisfactory | Comments |
|  |  |  | (tick relevan column) |  |  |
| - Location Dimension (length x breath) |  |  |  |  |  |
| - Roof type (RC/ Steel) |  |  |  |  |  |
| - Security Grilles |  |  |  |  |  |
| - Toilet Facilities |  |  |  |  |  |
| - Furniture (table and chairs) |  |  |  |  |  |
| - Painting works |  |  |  |  |  |
| - Metal roller shutter door |  |  |  |  |  |
| - Floor condition |  |  |  |  |  |
| - Roof condition |  |  |  |  |  |
| - Wall condition |  |  |  |  |  |
| - Fire Extinguisher |  |  |  |  |  |
| - Other Comments |  |  |  |  |  |
| Work Discription |  |  | Remarks |  |  |
| - External Civil Works | Details/ size (mm) | Nos | Satisfactory | Unsatisfactory | Comments |
| - Access Road |  |  |  |  |  |
| - Premix |  |  |  |  |  |
| - Close Turfing |  |  |  |  |  |
| - Security Fencing |  |  |  |  |  |
| - Perimeter Barbed Wire (ground level) |  |  |  |  |  |
| - Padlock |  |  |  |  |  |
| - Boundary Markers |  |  |  |  |  |
| - Signboard |  |  |  |  |  |
| - Perimeter drainage system |  |  |  |  |  |
| - Discharge point |  |  |  |  |  |
| - Sampling point |  |  |  |  |  |
| - Other Comments |  |  |  |  |  |
| Work Discription |  |  | Remarks |  |  |
| - External Civil Works | Details/ size (mm) | Nos | Satisfactory | Unsatisfactory | Comments |
| - Floor area |  |  |  |  |  |
| - Rooms |  |  |  |  |  |
| - Kitchen |  |  |  |  |  |
| - Roofing Material |  |  |  |  |  |
| - Floor condition |  |  |  |  |  |
| - Roof condition |  |  |  |  |  |
| - Wall condition |  |  |  |  |  |
| - Floor condition |  |  |  |  |  |
| - Toilets |  |  |  |  |  |
| - Water taps |  |  |  |  |  |
| - Painting Works |  |  |  |  |  |
| - Perimeter drainage system |  |  |  |  |  |
| - Septic tank |  |  |  |  |  |
| - Other Comments |  |  |  |  |  |

| FINAL JOINT INSPECTION REPORT (RESERVOIR/ SUCTION CISTERN/ PUMP HOUSE) (Valid for six (6) months prior taking over date) | Form QT6(b) |
| --- | --- |
|  | Page 3 of 3 |

| Project Reference No. | : |  |
| --- | --- | --- |

| - Power Supply | Satisfactory | Unsatisfactory | Comments |
| --- | --- | --- | --- |
| - TNB power supplied |  |  |  |
| - Rooms |  |  |  |
| - Kitchen |  |  |  |
| - Roofing Material |  |  |  |

Note:  a.		The compliance of standards and specifications shall refer with the general principles in SPAN’s Uniform Technical Guidelines, SYABAS’ Standard Specification For Pipe Laying Works First Edition: May 2007 requirements.

| Checked By |  |  |  |
| --- | --- | --- | --- |
| Name | : |  |  |
| Firm CP Registration No | : : |  |  |
| NRIC. No. | : |  |  |
| Date : |  | Signature of Competent Person |  |
| 1. Witnessed By |  |  |  |
| Name | : |  |  |
| Staff No | : |  |  |
|  |  | Signature of AIR SELANGOR; Head, Regional Development Unit |  |

Date                           :

| 2. Witnessed By |  |  |  |
| --- | --- | --- | --- |
| Name | : |  |  |
| Staff No | : |  |  |
|  |  | Signature of AIR SELANGOR; Head, of Take Over Unit (HQ) Development Section |  |

Date                           :